{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":92,"n_cols":10,"rows_kept":92,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","FTXA-AW"]
[]
[]
[]
[]
["","","","","","FTXA20A2V1BW","FTXA25A2V1BW","FTXA35A2V1BW","FTXA42A2V1BW","FTXA50A2V1BW"]
["Mürarõhutase","Küte","","kiire","dBA","39","40","41","","46"]
["","","","Keskmine","dBA","32","33","33","","42"]
["","","","Vaikne töö","dBA","19","19","19","","24"]
["","","","aeglane","dBA","25","25","25","","33"]
["","Jahutus","","Medium","dBA","32","33","33","","39"]
["","","","Vaikne töö","dBA","19","19","19","","24"]
["","","","aeglane","dBA","25","25","25","","31"]
["","","","kiire","dBA","39","40","41","","46"]
["Standardsed lisatarvikud","Paigaldusjuhend","","","","1","1","1","","1"]
["","Kasutusjuhend","","","","1","1","1","","1"]
["","Õhufilter","","","","2","2","2","","2"]
["","Infrapunaühendusega kaugjuhtimispult","","","","1","1","1","","1"]
["","Kaugjuhtimispuldi paigaldusplaat","","","","1","1","1","","1"]
["","Kruvide kott","","","","1","1","1","","1"]
["","Kruvide kaas","","","","1","1","1","","1"]
["","AAA kuivelement patareid","","","","2","2","2","","2"]
["","Üldised ohutusmeetmed","","","","1","1","1","","1"]
["Jahutusaine","GWP","","","","675.0","675.0","675.0","","675.0"]
["Juhtsüsteemid","Wired remote control","","","","BRC073","BRC073","BRC073","","BRC073"]
["","Infrared remote control","","","","ARC466A58","ARC466A58","ARC466A58","","ARC466A58"]
["Toruühendused","Vedelik","","Välisdiameeter","mm","6.35","6.35","6.35","","6.35"]
["","Gaas","","Välisdiameeter","mm","9.50","9.50","9.50","","12.70"]
["","Tühjendus","","","","18","18","18","","18"]
["Sisendvõimsus","Jahutus","","Nom","kW","0.020","0.022","0.023","","0.030"]
["","Küte","","Nom","kW","0.020","0.020","0.022","","0.039"]
["Müratase","Jahutamine","","","dBA","57","57","60","","60"]
["Mõõtmed","Seade","","Laius","mm","798","798","798","","798"]
["","","","Sügavus","mm","189","189","189","","189"]
["","","","Kõrgus","mm","295","295","295","","295"]
["Korpus","Colour","","","","Valge","Valge","Valge","","Valge"]
["Kaal","Ühik","","","kg","11.50","11.50","11.50","","11.50"]
["Ventilaator","Õhu vooluhulk","Küte","kiire","m³/min","10.9","11.1","11.5","","15.1"]
["","","","Keskmine","m³/min","8.7","9.0","9.0","","11.1"]
["","","","aeglane","m³/min","6.4","6.4","6.4","","8.2"]
["","","","Vaikne töö","m³/min","4.5","4.5","4.5","","5.7"]
["","","Jahutus","aeglane","m³/min","6.1","6.1","6.1","","7.6"]
["","","","Keskmine","m³/min","8.2","8.6","8.6","","10.4"]
["","","","kiire","m³/min","11.0","11.5","11.9","","13.5"]
["","","","Vaikne töö","m³/min","4.6","4.6","4.6","","5.2"]
["Power supply","Phase","","","","1~","1~","1~","","1~"]
["","Nimetus","","","","V1","V1","V1","","V1"]
["","Sagedus","","","Hz","50","50","50","","50"]
["","Pinge","","","V","220-240","220-240","220-240","","220-240"]
["Sisendvõimsus","Jahutus","","Nom","kW","","","","0.028"]
["","Küte","","Nom","kW","","","","0.036"]
["Korpus","Värvus","","","","","","","Valge"]
["Mõõtmed","Ühik","","Kõrgus","mm","","","","295"]
["","","","Laius","mm","","","","798"]
["","","","Sügavus","mm","","","","189"]
["Kaal","Ühik","","","kg","","","","11.50"]
["Ventilaator","Õhu vooluhulk","Jahutus","kiire","m³/min","","","","13.1"]
["","Õhuvoolu kiirus","Jahutus","Keskmine","m³/min","","","","9.8"]
["","","","aeglane","m³/min","","","","7.2"]
["","","","Vaikne töö","m³/min","","","","4.6"]
["","","Küte","kiire","m³/min","","","","14.6"]
["","Õhuvoolu kiirus","Küte","Keskmine","m³/min","","","","10.5"]
["","","Küte","aeglane","m³/min","","","","7.7"]
["","","","Vaikne töö","m³/min","","","","5.2"]
["Helivõimsustase","Jahutamine","","","dBA","","","","60"]
["Mürarõhutase","Jahutus","","kiire","dBA","","","","45"]
["Helirõhu tase","Jahutus","","Keskmine","dBA","","","","37"]
["Mürarõhutase","Jahutus","","aeglane","dBA","","","","29"]
["","","","Vaikne töö","dBA","","","","21"]
["","Küte","","kiire","dBA","","","","45"]
["Helirõhu tase","Küte","","Keskmine","dBA","","","","37"]
["Mürarõhutase","Küte","","aeglane","dBA","","","","29"]
["","","","Vaikne töö","dBA","","","","21"]
["Külmaaine","GWP","","","","","","","675.0"]
["Toruühendused","Vedelik","","Välisdiameeter","mm","","","","6.35"]
["","Gaas","","Välisdiameeter","mm","","","","12.70"]
["","Tühjendus","","","","","","","18"]
["Juhtsüsteemid","Infrapunakaugjuhtimine","","","","","","","ARC466A58"]
["","Juhtmega kaugjuhtimine","","","","","","","BRC073"]
["Standardsed lisatarvikud","Installation manual","","","","","","","1"]
["","Screw cover","","","","","","","1"]
["","AAA dry-cell batteries","","","","","","","2"]
["","General safety precautions","","","","","","","1"]
["","Operation manual","","","","","","","1"]
["","Õhufilter","","","","","","","2"]
["","Infrared remote control","","","","","","","1"]
["","Remote controller mounting plate","","","","","","","1"]
["","Screw bag","","","","","","","1"]
["Elektritoide","Nimetus","","","","","","","V1"]
["","Faas","","","","","","","1~"]
["","Sagedus","","","Hz","","","","50"]
["","Pinge","","","V","","","","220-240"]