{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":50,"n_cols":6,"rows_kept":50,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","FTXTA-CB"]
[]
[]
[]
[]
["","","","","","FTXTA30C2V1BB"]
["Sisendvõimsus","Jahutus","","Nom","kW","0.023"]
["","Küte","","Nom","kW","0.022"]
["Korpus","Värvus","","","","Must"]
["Mõõtmed","Ühik","","Kõrgus","mm","295"]
["","","","Laius","mm","798"]
["","","","Sügavus","mm","189"]
["Kaal","Ühik","","","kg","12"]
["Ventilaator","Õhu vooluhulk","Jahutus","kiire","m³/min","13.1"]
["","Õhuvoolu kiirus","Jahutus","Keskmine","m³/min","9"]
["","","","aeglane","m³/min","6"]
["","","","Vaikne töö","m³/min","4.9"]
["","","Küte","kiire","m³/min","12.3"]
["","Õhuvoolu kiirus","Küte","Keskmine","m³/min","8.2"]
["","","Küte","aeglane","m³/min","5.8"]
["","","","Vaikne töö","m³/min","5"]
["Helivõimsustase","Jahutamine","","","dBA","60"]
["","Soojendamine","","","dBA","60"]
["Mürarõhutase","Jahutus","","kiire","dBA","43"]
["Helirõhu tase","Jahutus","","Keskmine","dBA","32"]
["Mürarõhutase","Jahutus","","aeglane","dBA","25"]
["","","","Vaikne töö","dBA","20"]
["","Küte","","kiire","dBA","41"]
["Helirõhu tase","Küte","","Keskmine","dBA","31"]
["Mürarõhutase","Küte","","aeglane","dBA","24"]
["","","","Vaikne töö","dBA","19"]
["Külmaaine","GWP","","","","675"]
["Toruühendused","Vedelik","","Välisdiameeter","mm","6.35"]
["","Gaas","","Välisdiameeter","mm","9.5"]
["","Tühjendus","","","","18"]
["Control systems","Infrared remote control","","","","ARC466A84"]
["Juhtsüsteemid","Juhtmega kaugjuhtimine","","","","BRC073A4"]
["Standardsed lisatarvikud","Installation manual","","","","1"]
["","Wireless remote control","","","","1"]
["","Screw cover","","","","2"]
["","AAA dry-cell batteries","","","","2"]
["","General safety precautions","","","","1"]
["","Operation manual","","","","1"]
["","Titanium apatite deodorizing filter","","","","1"]
["","Silver particle filter","","","","1"]
["","Remote control holder","","","","1"]
["","Screw bag","","","","1"]
["Elektritoide","Faas","","","","1~"]
["","Sagedus","","","Hz","50"]
["","Pinge","","","V","220-240"]